## Slide 1: TrueAllele® validation: Computer interpretation of DNA mixture evidence
Mark W Perlin, PhD, MD, PhD
Cybergenetics, Pittsburgh, PA
Cybergenetics © 2003-2021

## Slide 2: One person, one genotype
7
14
locus

## Slide 3: DNA data
One or two allele peaks at a locus

## Slide 4: Two people, two genotypes
7
14
10
12
locus

## Slide 5: DNA mixture problem
Quantitative peak heights at a locus
peak size
peak
height

## Slide 6: Data summary – “alleles”
Analytical
Threshold
Over threshold, peaks are labeled as allele events
All-or-none allele peaks,
each given equal status
Allele Pair
7, 7
7, 10
7, 12
7, 14
10, 10
10%10, 12
10, 14
12, 12
12, 14
14, 14

## Slide 7: CPI information
CPI
6.83 (2.22)
6.68 million
Combined probability of inclusion

## Slide 8: SWGDAM 2010 guidelines
Stochastic
Threshold
Under threshold, alleles less used
Allele Pair
7, 7
7, 10
7, 12
7, 14
10, 10
0%10, 12
10, 14
12, 12
12, 14
14, 14
Higher threshold for human review
Analytical
Threshold

## Slide 9: Modified CPI information
CPI
6.83 (2.22)
6.68 million
2.15 (1.68)
140
mCPI

## Slide 10: SWGDAM 2010 guidelines
3.2.2. If a stochastic threshold based on peak height is not used in the evaluation of DNA typing results, the laboratory must establish alternative criteria (e.g., quantitation values or use of a probabilistic genotype approach) for addressing potential stochastic amplification. The criteria must be supported by empirical data and internal validation and must be documented in the standard operating procedures.
Use TrueAllele® Casework for DNA mixture statistics

## Slide 11: TrueAllele® computer solution
• Accurate. 41 validation studies, 8 published
• Objective. Workflow removes human bias
• Accepted. Reported in 44 states, used by labs
• Transparent. Give math, software (4GB DVD)
• Neutral. Can statistically include or exclude

## Slide 12: Explaining DNA mixtures
2001
DNA peak height data
Sum of genotypes

## Slide 13: Mixture separation
Separate the mixture data into contributor components
25%
75%

## Slide 14: Genotyping objectivity
Thorough: consider every possible genotype solution
Objective: does not know the comparison genotype
Explain the
peak pattern
Better
explanation
has a
higher likelihood
Victim's allele pair
Another person's allele pair
Allele Pair
7, 7
7, 10
7, 12
7, 14
10, 10
98%10, 12
10, 14
12, 12
12, 14
14, 14

## Slide 15: Peer-reviewed validation studies
Perlin MW, Sinelnikov A. An information gap in DNA evidence interpretation. PLoS ONE. 2009;4(12):e8327.
Ballantyne J, Hanson EK, Perlin MW. DNA mixture genotyping by probabilistic computer interpretation of binomially-sampled laser captured cell populations: Combining quantitative data for greater identification information. Science & Justice. 2013;53(2):103-114.
Perlin MW, Hornyak J, Sugimoto G, Miller K. TrueAllele® genotype identification on DNA mixtures containing up to five unknown contributors. Journal of Forensic Sciences. 2015;60(4):857-868.
Greenspoon SA, Schiermeier-Wood L, Jenkins BC. Establishing the limits of TrueAllele® Casework: a validation study. Journal of Forensic Sciences. 2015;60(5):1263-1276.
Bauer DW, Butt N, Hornyak JM, Perlin MW. Validating TrueAllele® interpretation of DNA mixtures containing up to ten unknown contributors. Journal of Forensic Sciences. 2020; 65(2):380-398.
Perlin MW, Legler MM, Spencer CE, Smith JL, Allan WP, Belrose JL, Duceman BW. Validating TrueAllele® DNA mixture interpretation. Journal of Forensic Sciences. 2011;56(6):1430-1447.
Perlin MW, Belrose JL, Duceman BW. New York State TrueAllele® Casework validation study. Journal of Forensic Sciences. 2013;58(6):1458-1466.
Perlin MW, Dormer K, Hornyak J, Schiermeier-Wood L, Greenspoon S. TrueAllele® Casework on Virginia DNA mixture evidence: computer and manual interpretation in 72 reported criminal cases. PLOS ONE. 2014;(9)3:e92837.

## Slide 16
2009
TrueAllele predictability

## Slide 17
2014
TrueAllele reliability
Validation axes
• sensitive
• specific
• reproducible

## Slide 18: Sensitivity
The extent to which interpretation identifies the correct person
101 reported genotype matches
82 with DNA statistic over a million
True DNA mixture inclusions

## Slide 19: TrueAllele sensitivity
11.05 (5.42)
113 billion
TrueAllele
log(LR) match distribution

## Slide 20: Comparison
CPI
11.05 (5.42)
113 billion
6.83 (2.22)
6.68 million
2.15 (1.68)
140
mCPI
TrueAllele

## Slide 21: TrueAllele accuracy

## Slide 22: Specificity
The extent to which interpretation does not misidentify the wrong person
101 matching genotypes x 10,000 random references
x 3 ethnic populations,
for over 1,000,000 nonmatching comparisons
True exclusions, without false inclusions

## Slide 23: TrueAllele specificity
– 19.47
log(LR) nonmatch distribution

## Slide 24: False positives
in over 1,000,000 comparisons per group
false positive rate is under 1 in 20,000 (0.005%)
for LR > 100, rate is 1 in 1,000,000 (0.0001)%

## Slide 25: Higher human error rate
TrueAllele specificity (million samples)
From noncontributor distribution, for LR > 100:
Error rate = 1 in 1,000,000 (0.0001)%
CPI – analytical threshold
5 false positives in 81 comparisons
Error rate = 5 in 81 (6%)
mCPI – stochastic threshold
17 inconclusive results
1 false positive in 53 comparisons
Error rate = 1 in 53 (2%)

## Slide 26: Reproducibility
MCMC computing has sampling variation
duplicate computer runs
on 101 matching genotypes
measure log(LR) variation
The extent to which interpretation gives
the same answer to the same question

## Slide 27: TrueAllele reproducibility
Concordance in two independent computer runs
standard deviation
(within-group)
0.305

## Slide 31: TrueAllele sensitivity
200 pg

## Slide 32: TrueAllele specificity
200 pg

## Slide 33: TrueAllele reproducibility
200 pg

## Slide 36: Over 25 admissibility rulings
Commonwealth of Pennsylvania v Kevin Foley (admitted, 2009; appellate precedent, 2012)
People of California v Dupree Langston (admitted, 2013)
Commonwealth of Virginia v Matthew Brady (admitted, 2013)
State of Ohio v Maurice Shaw (admitted, 2014)
State of Louisiana v Chattley Chesterfield & Samuel Nicolas (admitted, 2014)
People of New York v John Wakefield (admitted, 2015; appellate precedent, 2019)
State of South Carolina v Jaquard Aiken (admitted, 2015)
Commonwealth of Massachusetts v Heidi Bartlett (admitted, 2016)
State of Indiana v Dugniqio Forest (admitted, 2016)
State of Indiana v Malcolm Wade (admitted, 2016)
State of Washington v Emanuel Fair (admitted, 2017)
State of Louisiana v Harold Houston (admitted, 2017)
State of Indiana v Randal Coalter (admitted, 2017)
State of Nebraska v Charles Simmer (admitted, 2018; appellate precedent, 2019)
State of Indiana v Vaylen Glazebrook (admitted, 2018)
State of Ohio v David Mathis (admitted, 2018)
State of Florida v Lajayvian Daniels (admitted, 2018)
State of Tennessee v Demontez Watkins (admitted, 2018)
State of Georgia v Thaddus Nundra (admitted, 2019)
State of Georgia v Monte Baugh & Thaddeus Howell (admitted, 2019)
State of Louisiana v Kyle Russ (admitted, 2019)
People of New York v Casey Wilson (admitted, 2019)
State of Georgia v Alexander Battle (admitted, 2019)
United States v Lenard Gibbs (admitted, 2019)
State of Georgia v Guy Sewell (admitted, 2019)
State of Georgia v Adedojah Bah (admitted, 2019)
State of Georgia v Nathaniel Day (admitted, 2019)
State of Tennessee v Abdullah Powell (admitted, 2021)

## Slide 37: TrueAllele today
Invented math & algorithms | 25 years
Developed computer systems | 20 years
Support users and workflow | 10 laboratories
Routinely used in casework | 8 crime labs
Validate system reliability | 42 studies
Educate the community | 100 talks
Train or certify analysts | 400 students
Admissibility challenges | 28 rulings, 14 states
Testify about LR results | 100 trials
Educate lawyers and public | 1,000 people
Make the ideas understandable | 975 cases, 44 states

## Slide 38: Conclusions
A reliable method
• objective
• sensitive
• specific
• reproducible
• accurate
TrueAllele Casework DNA mixture interpretation is:
TrueAllele computer genotyping is more effective than human review
Perlin MW, Dormer K, Hornyak J, Schiermeier-Wood L, Greenspoon S.
TrueAllele® Casework on Virginia DNA mixture evidence: computer and manual interpretation in 72 reported criminal cases. PLOS ONE. 2014;(9)3:e92837.