## Slide 1: Validating TrueAllele® genotyping on ten contributor DNA mixtures
Cybergenetics © 2003-2017
1David W. Bauer, PhD
2Nasir Butt, PhD
1Mark W. Perlin, PhD, MD, PhD
1Cybergenetics
Pittsburgh, PA
2Cuyahoga County
Forensic Laboratory
Cleveland, OH

## Slide 2: DNA evidence
DATA
Corroborate answers
Cold cases
Create new questions

## Slide 3: What is an STR?
Cell
DNA
locus
1
2
3
4
5
6
7
8
ACGT
Mother allele
Father allele
1
2
3
4
5
6
7
8
9
10
11
12
9

## Slide 4: STR data
Data eliminates possibilities
Task: to infer genotypes from peaks
9, 9
9, 10
9, 11
9, 12
10, 10
10, 11
10, 12
…
…
9, 9
9, 10
9, 11
9, 12
10, 10
10, 11
10, 12
…
…
before
after
Single source
peak
height
peak size
9
12
8
11
RFU
Size (bp)

## Slide 5: STR mixture data
18, 18
19, 19
20, 20
19, 20
18, 20
18, 19
17
2 person mixture
No single answer
more contributors
more complexity
more uncertainty
18
19
20
RFU
Size (bp)
Notes: Genotypes separated

## Slide 6: Too complex? – Yes and No
“Mixture of at least 3 individuals…”
Reported
conclusions:
“Number of contributors cannot reasonably be assumed…”
“…therefore, no further conclusions can be drawn.”
3 person mixture
9
12
8
11
10
13
RFU
Size (bp)

## Slide 7: How TrueAllele works
- Computer tries thousands of possibilities
- Compares with data to calculate probability
12
8
11
10
13
RFU
Size (bp)
3 person mixture
- Good explanations
9
major
middle
minor
higher probability

## Slide 8: How TrueAllele works
- Handles uncertainty with probability
9,11
9,12
10,12
11,12
9,13
10,13
11,13
12,13
Allele pair
Probability
10,11
Genotype for the major contributor
Prob(evidence match)

## Slide 9: Degree of match
Prob(evidence match)
Prob(coincidental match)
Likelihood ratio (LR) =
Match statistics expressed as the numbers of zeros
9,11
10,11
9,12
10,12
11,12
9,13
10,13
11,13
12,13
Allele pair
Probability

## Slide 10: Degree of match
Prob(evidence match)
Prob(coincidental match)
7x
14%
2%
Likelihood ratio (LR) =
log(LR)
log(7) = 0.85
Match statistics expressed as the numbers of zeros
15 loci
log(trillion) = 12
9,11
10,11
9,12
10,12
11,12
9,13
10,13
11,13
12,13
Allele pair
Probability
=

## Slide 11: Validation samples
Laboratory created mixtures (2 - 10 person)
minors difficult to ‘see’
Don’t know real contributor number in casework
10 person mixture
15
18
19
20
16
17
21
22
23
25
RFU
Size (bp)

## Slide 12: Sensitivity: simplicity from complexity
Match statistics to actual contributors
2 person
3 person
5 person
6 person
log(LR)
-6
0
6
12
18
24
30
Average match strength decreases
Max log(LR) nearly constant

## Slide 13: Sensitivity: More or less
log(LR) depends on contributor weight
more DNA
stronger
match
-6
0
6
12
18
24
30
log(LR)
contributor weight (%)
20
40
60
80
100
Match statistics for all samples

## Slide 14: Sensitivity: More or less
2-3 person
4 person
6 person
more contributors
less DNA
weaker match
60
80
100
-6
0
6
12
18
24
30
log(LR)
contributor weight (%)
20
40

## Slide 15: Specificity
Sensitivity is important, but not sufficient
log(LR)
-42
-36
-30
-24
-18
-12
-6
0
2 person
counts
Each evidence genotype
Match statistic distribution for non-contributors
10,000 random profiles
compare

## Slide 16: Specificity
Sensitivity is important, but not sufficient
4 person
5 - 6 person
log(LR)
-42
-36
-30
-24
-18
-12
-6
0
2 person
3 person
non-contributors excluded
More contributors
lower specificity
counts
counts
counts
counts

## Slide 17: What limits specificity
0 - 5 %
10 - 15%
30 - 50 %
Specificity not lost to complexity
minors
less specific
Majors
more specific
Information
depends on
DNA amount
≥ 50%
log(LR)
-42
-36
-30
-24
-18
-12
-6
0
counts
counts
counts
counts
Notes: 5 observed

## Slide 18: Reproducibility
- Repeatable results using a random search algorithm?
contribs | within group std dev
2 | 0.08
3 | 0.71
4 | 2.20
5 | 1.65
6 | 1.77
- Compare independnet results for each individual
log(LR1)
log(LR2)
more complexity
more variation
Notes: Software uses a random search algorithm

## Slide 19: Reproducibility
- Software uses a random search algorithm
- How repeatable are the results?
contribs | within group std dev
2 | 0.08
3 | 0.71
4 | 2.20
5 | 1.65
6 | 1.77
less DNA
more complexity
more variation
log(LR1)
log(LR2)

## Slide 20: How many contributors?
Does assumed contributor number matter?
Don’t know actual contributor number in casework
Actual: 10
compare
Observed: 5
10 person mixture
RFU
Size (bp)
15
18
19
20
16
17
21
22
23
25

## Slide 21: Never too many contributors
 | min | mean | std dev | max | N = | False Exclusions
Actual (2-10) | -2.1 | 7.8 | 8.0 | 29.3 | 78 | 9
Observed (2-6) | -9.1 | 7.9 | 8.9 | 29.4 | 78 | 9
Number of assumed contributors does not change results
Matches to true contributors
log(LR)
-6
0
6
12
18
24
30
counts

## Slide 22: Identification comes from information
Observed
Actual
 |  | Counts | 
 |  | Observed | Actual
log(LR) | 0 | 6,900 | 13,043
 | 1 | 1,866 | 3,334
 | 2 | 327 | 509
 | 3 | 39 | 42
 | 4 | 12 | 9
 | 5 | 0 | 0
- don’t affect chance of false inclusion
Weak matches to
low-information genotypes
- low inclusionary & exclusionary power
‘Extra’ genotypes:
log(LR)
-30
-24
-18
-12
-6
0
-42
-36
counts
Notes: 1 million comparisons

## Slide 23: Information grows
7
6
5
4
4
3
7
5
4
2
3
1
5
5
3
4
1
2
1
6
3
4
2
2
3
6
6
3
2
2
8
3
3
4
3
2
2
1
assume known
match
DATA
log(LR)
weight (%)
13
22
12
16
13
15
2
2
4
1
Peeling matched references increases information

## Slide 24: Information grows
Higher match to minors
7
6
5
4
4
3
7
5
4
2
3
1
5
5
3
4
1
2
1
6
3
4
2
2
3
6
6
3
2
2
8
3
3
4
3
2
2
1
assume known
match
DATA
‘Unseen’ minors not lost
log(LR)
weight (%)
13
22
12
16
13
15
2
2
4
1
more information
Peeling matched-references increases information

## Slide 25: Information includes AND excludes
Genotypes for minors more exclusionary
-3
-7
Before peeling
After peeling
log(LR)
-30
-24
-18
-12
-6
0
counts
Peeling matched-references increases information
minor genotypes

## Slide 26: Complexity in casework
Brother in-law
Father, mother, 2 sons, aunt
Quintuple homicide in Sydney Australia
Blood stain in suspect’s garage
Suspect:
more contributors
more
probative weight
Crime:
Evidence:
more
complexity

## Slide 27: Complexity in casework
Blood mixture of 5 victims (blood-related)
2.2 billion
Son
230 thousand
Father
29 thousand
Aunt
50 quadrillion
Son
290
Mother
40%
30%
20%
7%
3%
victim
weight
LR

## Slide 28: Conclusions
Tested TrueAllele on ten-contributor mixtures
Included true contributors
Excluded non-contributors
Concordance between runs
Data dictate results, not user assumptions
DNA amount
• Specific
• Sensitive
• Reproducible
• Objective
{
contributor number
not

## Slide 29: More information
http://www.cybgen.com/information
• Courses
• Newsletters
• Newsroom
• Presentations
• Publications
• Webinars
TrueAllele YouTube channel:
http://www.youtube.com/user/TrueAllele
dave@cybgen.com