## Slide 1: Human factors in automated forensic DNA examination
Mark W Perlin, PhD, MD, PhD
Cybergenetics
Pittsburgh, PA
Cybergenetics © 2003-2021
Expert Working Group on Human Factors
in Forensic DNA Interpretation:
Probabilistic Genotype Software
National Institute of Standards and Technology
National Institute of Justice
January 2021

## Slide 2: Working group questions
How DNA complexity affects understanding and communication
Explaining probabilistic genotyping results to a jury
Validating a probabilistic genotyping system
Selecting DNA samples in a validation study
When do computers outperform a human analyst
How the LR depends on reference database assumptions
Any ‘manufacturer’s warnings’ for TrueAllele crime labs
Automatic genotype comparison with contamination databases

## Slide 3: PCR introduces randomness

## Slide 4: DNA mixtures – many answers

## Slide 5: Thresholds introduce error

## Slide 6: Find all genotypes, with probability
One of 6 contributors to mixture
One of 22 STR loci tested
One of 132 separated locus genotypes

## Slide 7: Bayesian modeling
Perlin MW, Legler MM, Spencer CE, Smith JL, Allan WP, Belrose JL, Duceman BW. Validating TrueAllele® DNA mixture interpretation. Journal of Forensic Sciences. 2011;56(6):1430-1447.

## Slide 8: Two-step objective approach
Genotype probability q, for all allele pairs,
from analyzing the evidence data
for each contributor at every locus.
1. Without looking at the suspect’s genotype, find:
2. Afterwards, plug in the suspect’s genotype s:
LR(s) =

## Slide 9: Genotype match distributions
Frequency distribution of noncontributor genotypes
Error rate
rarity of
LR match

## Slide 11: Question 1
The more complex the analysis gets, the harder it is to communicate.
Are we reaching a point where we cannot understand how it works?
Do we just need to know how often we get it right?
How DNA complexity affects understanding and communication

## Slide 12: Easy with separated genotypes
Complexity doesn’t affect explanation.
Show results for one contributor’s genotype.
Then explain just like RMP.
100%
25%
Evidence match
probability
LR = 4
Probability of
coincidental match
50%
25%
Probability of match
to separated
contributor genotype
LR = 2
Random match
probability

## Slide 13: DNA genotype
10, 12
1
2
3
4
5
6
7
8
ACGT
1
2
3
4
5
A genetic locus has
two DNA sentences,
one from each parent.
locus
Many alleles allow for
many many allele pairs.
A person's genotype
is relatively unique.
mother
allele
father
allele
repeated word
An allele is the number
of repeated words.
A genotype at a locus
is a pair of alleles.
9
10
6
7
8
9
10
11
12

## Slide 14: DNA evidence interpretation
Evidence item
Evidence data
Lab
Infer
10 11 12
Evidence genotype
Known genotype
10, 12 @ 100%
10, 12
Compare
DNA from
one person

## Slide 15: DNA mixture interpretation
Evidence item
Evidence data
Lab
Infer
Evidence genotype
Known genotype
10, 11 @ 20%
11, 11 @ 30%
11, 12 @ 50%
11, 12
Compare
10 11 12
DNA from
two people

## Slide 16: Question 2
What is the most effective way to explain PGS outputs to a jury?
Explaining probabilistic genotyping results to a jury

## Slide 17: Computers can use all the data
Quantitative peak heights at locus D12S391
peak
height
peak size

## Slide 18: How the computer thinks
Consider every possible genotype solution
Better explanation has
a higher likelihood
Explain the
peak pattern

## Slide 19: How the computer thinks
Consider every possible genotype solution
Better explanation has
a higher likelihood
Explain the
peak pattern

## Slide 20: How the computer thinks
Consider every possible genotype solution
Better explanation has
a higher likelihood
Explain the
peak pattern

## Slide 21: How the computer thinks
Consider every possible genotype solution
Better explanation has
a higher likelihood
Explain the
peak pattern

## Slide 22: How the computer thinks
Consider every possible genotype solution
Better explanation has
a higher likelihood
Explain the
peak pattern

## Slide 23: How the computer thinks
Consider every possible genotype solution
Better explanation has
a higher likelihood
Explain the
peak pattern

## Slide 24: How the computer thinks
Consider every possible genotype solution
Worse explanation has
a lower likelihood

## Slide 25: Evidence genotype
Objective genotype determined solely from the DNA data.
Never sees a comparison reference.
15%
7%
6%
11%
10%
5%
5%
3%
3%
3%
3%
One of 132 separated locus genotypes

## Slide 26: DNA match information
Prob(evidence match)
Prob(coincidental match)
How much more does the suspect match the evidence
than a random person?
5x
15%
3%

## Slide 27: Match information at 22 loci

## Slide 28: Is the suspect in the evidence?
A match between the khaki pants
and the defendant is:
470 thousand times more probable than
a coincidental match to an unrelated African-American person
7.64 million times more probable than
a coincidental match to an unrelated Caucasian person
5.12 million times more probable than
a coincidental match to an unrelated Hispanic person

## Slide 29: Match statistics
Item | Description | 007 Victim | 009 Defendant
008 | khaki pants | 204 trillion | 470 thousand
LR

## Slide 30: Match statistics
Item | Description | 007 Victim | 009 Defendant
008 | khaki pants | 14.31 | 5.67
log(LR)

## Slide 31: Non-contributor analysis
Error rate
1 in
6.1 million
5.67

## Slide 32: Question 3
What is involved in a validation of a
Probabilistic Genotyping System?
Validating a probabilistic genotyping system

## Slide 33: Validation metrics
Specificity
Sensitivity
Reproducibility
Accuracy
Predictability

## Slide 34: A. Specificity
The extent to which interpretation does not misidentify the wrong person
Average of the individual genotype
specificity distributions
True exclusions, without false inclusions

## Slide 35
Genotype match distribution
Noncontributor

## Slide 36
Many genotypes’ match distributions

## Slide 37
Composite genotype match distribution
Exact

## Slide 38: TrueAllele specificity
Perlin MW, Hornyak J, Sugimoto G, Miller K. TrueAllele® genotype identification on DNA mixtures containing up to five unknown contributors. Journal of Forensic Sciences. 2015;60(4):857-868.
Sampled

## Slide 39: Exact vs. sampled
Exact
all – 1024 genotypes
accurate
exact probability function
convolution – fast
Sampled
some – 104 genotypes
approximate
sample using random profiles
Monte Carlo – slow

## Slide 40: B. Sensitivity
Average of the individual genotype
specificity distributions
The extent to which interpretation identifies the correct person
True DNA mixture inclusions

## Slide 41
Genotype match distribution
Contributor

## Slide 42
Many genotypes’ match distributions

## Slide 43
Composite genotype match distribution

## Slide 44: TrueAllele sensitivity
Perlin MW, Hornyak J, Sugimoto G, Miller K. TrueAllele® genotype identification on DNA mixtures containing up to five unknown contributors. Journal of Forensic Sciences. 2015;60(4):857-868.

## Slide 45: C. Reproducibility
MCMC computing has sampling variation
duplicate computer runs
on the matching genotypes
measure log(LR) variation
The extent to which interpretation gives
the same answer to the same question

## Slide 46: TrueAllele reproducibility
Perlin MW, Hornyak J, Sugimoto G, Miller K. TrueAllele® genotype identification on DNA mixtures containing up to five unknown contributors. Journal of Forensic Sciences. 2015;60(4):857-868.

## Slide 47: D. TrueAllele accuracy
Perlin MW, Dormer K, Hornyak J, Schiermeier-Wood L, Greenspoon S. TrueAllele® Casework on Virginia DNA mixture evidence: computer and manual interpretation in 72 reported criminal cases. PLOS ONE. 2014;(9)3:e92837.

## Slide 48
E. TrueAllele predictability
Perlin MW, Sinelnikov A. An information gap in DNA evidence interpretation. PLoS ONE. 2009;4(12):e8327.

## Slide 49: Question 4
How do you select samples for validation?
Are the samples pristine or degraded?
Will different sample types produce different results?
Selecting DNA samples in a validation study

## Slide 50: Representative of casework
Typically, uniform aliquots – unrealistic, unrepresentative
Realistic mixtures
• laboratory synthesized – randomized design, pristine
• casework items – most realistic
Both kinds of DNA samples
are scientifically workable
and informative
Match distributions
are inherent in
probabilistic genotypes
& their composites
Don’t need “right” answer

## Slide 51: Question 5
What are the circumstances in which PGS outperforms an analyst?
Is there a way to make these criteria more subjective?
When do computers outperform a human analyst

## Slide 54: Higher human error
Perlin MW, Dormer K, Hornyak J, Schiermeier-Wood L, Greenspoon S. TrueAllele® Casework on Virginia DNA mixture evidence: computer and manual interpretation in 72 reported criminal cases. PLOS ONE. 2014;(9)3:e92837.
TrueAllele specificity (million samples)
From noncontributor distribution, for LR > 100:
Error rate = 1 in 1,000,000 (0.0001)%
CPI – analytical threshold
5 false positives in 81 comparisons
Error rate = 5 in 81 (6%)
mCPI – stochastic threshold
17 inconclusive results
1 false positive in 53 comparisons
Error rate = 1 in 53 (2%)

## Slide 55: Human review should not be done
CPI just counts subjective number of reported loci

## Slide 56: TrueAllele Casework Workflow
ViewStation
User Client
Database
Server
Interpret/Match
Expansion
Visual User Interface
VUIer™ Software
Parallel Processing Computers

## Slide 57: Automated operation
Human involvement
optional
no key decisions
Number of contributors
not needed
sufficient number
based on EPG data
Perlin MW, Hornyak J, Sugimoto G, Miller K. TrueAllele® genotype identification on DNA mixtures containing up to five unknown contributors. Journal of Forensic Sciences. 2015;60(4):857-868.
Bauer DW, Butt N, Hornyak JM, Perlin MW. Validating TrueAllele® interpretation of DNA mixtures containing up to ten unknown contributors. Journal of Forensic Sciences. 2020;65(2):380-398.

## Slide 58: Question 6
How much does the LR depend on the assumptions
that go into the reference database?
How the LR depends on reference database assumptions

## Slide 59: TrueAllele calibration-free
TrueAllele has a full Bayesian model
Does not use laboratory “calibration”
Variables derived from evidence data
Baseline variation – no analytic thresholds
PCR variation – no stochastic thresholds
Stutter parameters – no calibration; learn from data

## Slide 60: Question 7
What ‘manufacturer’s warnings’ do you presently have for
labs who purchase licenses to your software?
Any ‘manufacturer’s warnings’ for TrueAllele crime labs

## Slide 61: No ‘warnings’
None needed.
Labs learn methods and test system.
Then validate to their comfort level.

## Slide 62: Question 8
It seems computationally easy now for labs to run PGS against contamination databases, and
to get LRs for the profiles in those databases.
Should labs routinely do these LR database checks on casework, in order to ferret out low level contamination, or
to give fact-finders more context for low suspect LRs?
Automatic genotype comparison with contamination databases

## Slide 63: Automated TrueAllele database
Yes – TrueAllele labs auto-check contamination
Automated pre-review of cases (seed & harvest)
Automated DNA investigation (property crime)
Automated post-review of past cases (open the past)
Human-free genotype matching

## Slide 64: Upload and compare all DNA
Evidence
Genotype database
Crime scene
Reference
Genotype database
Criminals
Infer &
Upload
Match &
Report
+

## Slide 65: Recommendations for forensic genotyping practice
Use TrueAllele computers to fully automate DNA interpretation
Computers solve 100-dimensional problems that people can’t
Eliminate people from the interpretation process
waste, cost, time, error, labor, limits, bias, impact, …
Have people interact with society, explain results

## Slide 66: Scientific literature and technical knowledge
Peer-reviewed journal articles
Internal validation studies
Academic thesis papers
Manufacturer method reports
Data-rich white papers
Patent specifications
On-line talks & tutorials
Empirical testing

## Slide 67: Peer-reviewed validation studies
Perlin MW, Sinelnikov A. An information gap in DNA evidence interpretation. PLoS ONE. 2009;4(12):e8327.
Ballantyne J, Hanson EK, Perlin MW. DNA mixture genotyping by probabilistic computer interpretation of binomially-sampled laser captured cell populations: Combining quantitative data for greater identification information. Science & Justice. 2013;53(2):103-114.
Perlin MW, Hornyak J, Sugimoto G, Miller K. TrueAllele® genotype identification on DNA mixtures containing up to five unknown contributors. Journal of Forensic Sciences. 2015;60(4):857-868.
Greenspoon SA, Schiermeier-Wood L, Jenkins BC. Establishing the limits of TrueAllele® Casework: a validation study. Journal of Forensic Sciences. 2015;60(5):1263-1276.
Bauer DW, Butt N, Hornyak JM, Perlin MW. Validating TrueAllele® interpretation of DNA mixtures containing up to ten unknown contributors. Journal of Forensic Sciences. 2020;65(2):380-398.
Perlin MW, Legler MM, Spencer CE, Smith JL, Allan WP, Belrose JL, Duceman BW. Validating TrueAllele® DNA mixture interpretation. Journal of Forensic Sciences. 2011;56(6):1430-1447.
Perlin MW, Belrose JL, Duceman BW. New York State TrueAllele® Casework validation study. Journal of Forensic Sciences. 2013;58(6):1458-1466.
Perlin MW, Dormer K, Hornyak J, Schiermeier-Wood L, Greenspoon S. TrueAllele® Casework on Virginia DNA mixture evidence: computer and manual interpretation in 72 reported criminal cases. PLOS ONE. 2014;(9)3:e92837.

## Slide 68: TrueAllele lectures

## Slide 69: More information
http://www.cybgen.com/information
• Courses
• Newsletters
• Newsroom
• Presentations
• Publications
• Webinars
http://www.youtube.com/user/TrueAllele
TrueAllele YouTube channel
perlin@cybgen.com