## Slide 1: Genotype Information Criteria for Forensic DNA Databases
2019 AAFS Annual Scientific Meeting
February 23, 2018

## Slide 2: CODIS Searches
Allele to Allele Comparison
High certainty genotypes - good
Low certainty genotypes?

## Slide 3: NDIS Upload Criteria
Specimen Category | Max Alleles per Locus | Moderate Match Estimate
Forensic Mixture | 4 | 1 in 10 million

## Slide 4: Falling Through the Cracks
What about mixtures that have high information but do not meet upload criteria?
How do you identify mixtures with high match information?

## Slide 5: Probabilistic Genotyping
Kullback-Leibler Divergence (KL)
Measure of information gain in Bayesian inference
Posterior (after computer inference) vs. prior (before computer inference)

## Slide 6: Advantages of KL for Databases
Estimate of match information (LR) in absence of reference sample
Calculated over entire profile, not a subset of loci
Can be used to identify high information mixtures

## Slide 7: Methods
Process all samples in TrueAllele®
Assess KL of inferred genotypes
Determine viability for CODIS
  KL <10 = typically insufficient for CODIS
  KL >10 = sufficient but specimen category varies

## Slide 9: Case Example
Assault case – female victim, male suspect
Three questioned swabs
No victim sample submitted

## Slide 10: Case Example
Item | Quantity | Amplified? | Result | Weight
#1 | ~300 pg | Yes | Mixture (2) | 57 / 43
#2 | ~170 pg | Yes | Minimal | N/A
#3 | ~10 pg | No | N/A | N/A

## Slide 11: Case Example
Examiner focused on Item 1 for CODIS entry
Manual data review – 14 loci (8 core) entered
Insufficient MME for NDIS; uploaded to SDIS

## Slide 12: SDIS Search #1
June 2017
  28 candidate matches
  Human review (>1 hour)
  25 eliminated
  3 candidates requested for additional testing (expanded loci)

## Slide 13: SDIS Search #1
July 2017
  Expanded loci testing complete
  Human review
  All three excluded
Summary – 28 candidates, 0 hits, ~1.5 hours human time (entry & review)

## Slide 14: Additional Testing
October 2017
  Victim standard submitted
  TrueAllele® victim match, log LR 14.8 (630 trillion)
  Examiner manually refines CODIS profile
  MME still insufficient for NDIS
  Uploads to SDIS

## Slide 15: SDIS Search #2
October
  2 new candidate matches
  One eliminated
  One identified and confirmed
Summary – 2 candidates, 1 hits, ~15 minutes human time

## Slide 16: SDIS Searches Summary
30 candidates
1 hit
~2 hours human analysis/review
Four months searching
Offender was not identified in initial search!

## Slide 17: Could We Improve?
Use TrueAllele® at candidate match review?

## Slide 18: TrueAllele® Match Review

## Slide 19: Could We Improve?
Use TrueAllele® to select alleles for CODIS entry?

## Slide 20: TrueAllele® for CODIS Entry
Method
Candidate
Matches
Searches
Victim
Sample
Needed
for Hit?
Review
Time
Human
30
2
Yes
~2
hrs
TrueAllele
®
3
1
No
~15
minutes

## Slide 21: TrueAllele® for CODIS Entry
SC has created Probabilistic Genotyping index
No MME, max of 8 alleles per locus
Minimum 7 original core loci

## Slide 22: TrueAllele® for CODIS Entry
Search against single source profiles only
Mixtures that were previously ineligible for searching
Several hits to date

## Slide 23: Summary
MME is good predictor for number of matches but not quality of data
KL is good predictor of match strength
High information mixture data is not being searched
Probabilistic mechanism is needed

## Slide 24
Thank you!