## Slide 1: “Using Computer Technology to Overcome Bottlenecks in the Forensic DNA Testing Process and Improve Data Recovery from Complex Samples”

## Slide 2: Goals of DNA Testing
Help identify perpetrators of crimes
Eliminate the wrongfully accused
Help prevent future crimes

## Slide 3: Reducing DNA Testing Time
Hire more staff
Automate
  Humans for tasks requiring intelligence
  Machines for repetitive processes

## Slide 4: Typical Laboratory Automation Setup
Identify Material | Human
DNA Extraction | Automated, ~15 years
DNA Quantification | Automated, ~15 years
DNA Amplification | Automated, ~10-15 years
Instrumental Analysis | Automated, ~20 years
DNA Profile Interpretation | Human

## Slide 5: How Many DNA Profiles?
96-well plate
4 to 8 allelic ladders
At least two PCR controls
Several DNA extraction blanks
Typical plate could contain 80 to 90 DNA profiles

## Slide 6: Interpretation Guidelines
2017 SWGDAM Guidelines for human interpretation
To avoid confirmation bias, evidence samples should be interpreted before comparison to known samples

## Slide 7: To Avoid Confirmation Bias
Look at your evidence profile first
Infer DNA types from the evidence without knowledge of known types
Compare inferred DNA types to knowns
Determine if match exists

## Slide 8: Human Interpretation
Eight hour workday
8 hours x 60 minutes = 480 minutes
480 minutes / 84 DNA profiles =
5 minutes, 42 seconds per DNA profile

## Slide 9: Interpretation Bottleneck
Volume of data
Complexity
Thresholds
Data declared “Inconclusive” or “Too Complex for Interpretation”

## Slide 10
So Throwing Out Data is the Only Way?

## Slide 11: Alternate Approach - Automate
Automate DNA interpretation using computers
  Use humans for tasks requiring intelligence, use machines for repetitive processes
  DNA interpretation can be automated with the TrueAllele® technology

## Slide 12: TrueAllele® Processing
ViewStation
User Client
Database
Server
Interpret/Match
Expansion
Visual User Interface
VUIer™ Software
Parallel Processing Computers

## Slide 13: Automated Process
Upload entire plate to server
Computer interprets the data
Check results and compare:
  To other data files on the same plate
  To known profiles
  To previous runs
Perform detailed processing on potential matches

## Slide 14: Benefits of Automated DNA Interpretation
All data examined, nothing discarded
Speed
  One plate in ~6 – 7 hours
No confirmation bias
  Computer infers genotypes
  No prior knowledge

## Slide 15: Benefits of Automated DNA Interpretation
All data compared:
  Evidence, references, lab staff, crime scene investigators, controls
  Identify more case-to-case matches and potential contamination
CODIS specimen and candidate match assessment

## Slide 16: Database Matching
TrueAllele implemented in January 2016
Server expansion modules installed May 2017
  20 processors (casework and database screening)
  8 (original) processors dedicated to database screening

## Slide 17: TrueAllele Workflows
Casework
  Traditional sample-by-sample analysis
Database
  Process everything, look for matches
  Confirm matches in Casework process

## Slide 18: Database Matching
Uploaded all 7 years of data to BCSO TrueAllele database
  >7,500 DNA profiles
  >15,000 inferred genotypes
  Batched request run conditions:
    5K/5K
    3 unknown contributors

## Slide 19: Database Matching
~30,000 potential matches returned
Most were “within case”
To date, ~80 previously unknown EVI-REF case-to-case matches

## Slide 20: Match Evaluation
Five samples from five different cases matched to each other
EVI – EVI; no reference matches
No matches to any other genotypes

## Slide 21
Sample | Contributor | N Con | KL | 2016 Case (log LR)
2014 Case | 2 | 3 | 19.9574 | 12.5962
2015 Case | 1 | 3 | 19.675 | 14.7183
2017 Case | 3 | 3 | 14.6881 | 6.2815
2015 Case 2 | 1 | 3 | 17.401 | 8.0723

## Slide 22: Case Evaluation
2014 Home Invasion (unknown suspect)
2015 Attempted Murder (known suspect)
2015 Burglary (two known suspects)
2016 Murder (known suspect)
2017 B&E Auto (three known suspects)

## Slide 23: Case Evaluation
No suspects in common
2015 Attempted Murder & 2016 Murder: identity was not in dispute
2017 B&E Auto: suspects were witnessed and caught soon after

## Slide 24: Possible Causes
Wrongfully accused?
An accomplice that we don’t know about?
Contamination?
Aliens?

## Slide 25: Investigation
Worked in lab at different times
Worked in lab by three different examiners
Genotypes did not match lab staff
Genotypes did not match any case reference samples

## Slide 26: Investigation
All cases worked by same agency
All items were touch DNA
All evidence was collected or handled by same investigator
Investigator was the only common link between all five cases

## Slide 27
Sample | Contributor | N Con | KL | Reference (log LR)
2014 Home Invasion | 2 | 3 | 19.9574 | 13.4844
2015 Burglary | 1 | 3 | 19.675 | 15.4627
2016 Murder | 1 | 3 | 23.3979 | 17.798
2017 B&E Auto | 3 | 3 | 14.6881 | 11.0779
2015 Attempted Murder | 1 | 3 | 17.401 | 4.0144

## Slide 28: Run Conditions
  Batched request:
    5K/5K
    3 unknown contributors

## Slide 29: 2
Automated Matching
Convergence |  | 
1.641 | 1.113 | 2.048
5K/5K?

## Slide 30
3 contributors?
D12S391
D18S51

## Slide 31: Run Conditions
  Batched request:
    5K/5K
    1, 2, or 3 unknown contributors
    Identify potential matches for detailed processing

## Slide 32: Quality Control
Two of the profiles had been entered into CODIS
  LDIS match
Other three were unsuitable for CODIS entry

## Slide 33
CODIS Match Evaluation

## Slide 34: CODIS Match Evaluation Example #1
Offender | Human Review, 30 minutes | TrueAllele,5 minutes | LR | CPI (1 in)
#1 | Uncertain | Eliminated | 1.5 | 39,000
#2 | Not eliminated | Eliminated | 2.7 | 39,000
#3 | Not eliminated | Match | 73 billion | 39,000

## Slide 35: CODIS Match Evaluation Example #2
Offender | MME | CPI (1 in) | LR
#1 | 1.728 x 104 | 65 | 158 trillion

## Slide 36: Previously Unidentified Matches
2014: Burglary case, uploaded to SDIS
  Offender hit
  Match confirmed in laboratory
2017: Process old data, upload to TrueAllele®
  3 additional cases from 2012 - 2014
  Never entered into CODIS

## Slide 37: Can we use the automated process for CODIS screening?
Sample
Minimum
#
Contributors
Major
?
4x4
Rule?
CPI
(1
in
)
LR
2012
3
No
No
28,000
6 quintillion
2013
3
No
No
920
27 trillion
2014
3
No
No
760
9 trillion

## Slide 38: CODIS Screening
KL computed by TrueAllele®
  Measures information value of inferred genotype
MME calculated by CODIS
  Predicts matches at moderate stringency
Compare MME, KL, and LR for CODIS profile assessment

## Slide 40: What We Are Implementing
Use KL to predict quality of match
Use MME to filter adventitious matches
  High KL – build MME, search CODIS
  Low KL – do not upload

## Slide 41: Summary
DNA interpretation is automatable
Reduce/eliminate interpretation bottlenecks
Output searched internally and screened for suitable CODIS profiles
Improved quality control
More information recovered from same amount of data

## Slide 42
Questions?