## Slide 1: Pumping a 7-person murder mixture for TrueAllele® information
Cybergenetics Webinar
User Group Meeting
August, 2025
Pittsburgh, PA
Matthew Legler
Cybergenetics, Pittsburgh, PA
Cybergenetics © 2003-2025

## Slide 2: Crime
On April 7, 2014, a person killed gas station clerk Babul Kumer Saha before subsequently robbing the store.
“Per video, the suspect wore gloves but the suspect's bare arms may have come in contact with the register and/or the lottery slots when taking the money. Additionally, the video showed that the suspect may have brought a white plastic bag to the scene.”

## Slide 3: Crime Scene
Video surveillance photos of the man who killed Babul Kumer Saha
released by Maple Heights Police.

## Slide 4: Evidence
DNA samples were collected from several items around the gas station, including:
gas pump button (10)
a lottery cash register slot (14)
a plastic bag (17.1)

## Slide 5: Previous Analysis
Prior to Cuyahoga County deploying TrueAllele
Lab performed a manual analysis

## Slide 6: Previous Results
“The DNA profile obtained from item 14 [cash register] is a mixture of two or more individuals. Babul Kumer Saha cannot be excluded as a possible contributor to this mixture. The probability of selecting an unrelated individual at random from the population as a possible contributor to this mixture is approximately 1 in 35 million in Caucasians, 1 in 133 million in African Americans, and 1 in 19 million in Hispanics. The genetic loci Penta E, CSF1PO, Penta D, and TPOX were not used in the statistical calculations.”
“The DNA profiles obtained from items 10 [gas pump] and 17.1 [bag] are mixtures and are inconclusive due to too many contributors.”
Only match statistic was to victim

## Slide 7: Data (Item 17.1 – plastic bag)
Consistent with at least 4 (D12, FGA),
5 (D2S1338, PentaE), 6 (D1, D18), or more contributors.
FGA

## Slide 8: Data (Item 17.1 – plastic bag)
Consistent with at least 4 (D12, FGA),
5 (D2S1338, PentaE), 6 (D1, D18), or more contributors.
D2S1338

## Slide 9: Data (Item 17.1 – plastic bag)
Consistent with at least 4 (D12, FGA),
5 (D2S1338, PentaE), 6 (D1, D18), or more contributors.
D1S1656

## Slide 10: TrueAllele Analysis
4 to 8 contributors
100K and 200K cycles
Degraded DNA option on

## Slide 11: Genotype Concordance (ncon7)
4 requests x 7 genotypes = 28 genotypes
How do we review efficiently?
  Focus on one matching reference at a time
  Use the filter
Shown in VUIer™

## Slide 12: Impact of different contributor assumptions
Ncon | Avg. log(LR)
4 | 2.77
5 | 2.48
6 | 4.12
7 | 4.92
8 | 4.76
Matches to Reference 20

## Slide 13: TrueAllele Reporting
Matches to victim and suspect on same item

## Slide 14: Error Rate (Victim Match)
1 in 2.76 million

## Slide 15: Error Rate (Suspect Match)
1 in 1.28 million

## Slide 16: Validation
Question: How can we report on mixtures with >5 contributors?
Answer: We’ve validated the system on up to 10 contributors.

## Slide 17: Validation

## Slide 18: Validation Design
Random design (replicates casework)
Observed vs. Expected

## Slide 19: Sensitivity
two contributors, more match information
six contributors, less match information
0

## Slide 20: Specificity
two contributors, more match discrimination
six contributors, less match discrimination
0

## Slide 21: Reproducibility
two contributors
more DNA
less match variation
six contributors
less DNA
more match variation

## Slide 22
TrueAllele predictability
2009

## Slide 23: DNA amount
two contributors:
same linear relation to
DNA contributor quantity
six contributors:
same linear relation to
DNA contributor quantity

## Slide 24: Contributor number
0
observed number of contributors,
more specific information
designed number of contributors,
less specific information

## Slide 25: Peeling genotypes
 | Peeling Round |  |  |  |  |  | 
 | 0 | 1 | 2 | 3 | 4 | 5 | 6
% DNA | log(LR) |  |  |  |  |  | 
13 | 7.1 | K | K | K | K | K | K
22 | 5.7 | 7.4 | K | K | K | K | K
12 | 5.1 | 4.3 | 5.5 | K | K | K | K
16 | 3.9 | 3.8 | 5.2 | 6.3 | K | K | K
13 | 3.5 | 2.8 | 2.5 | 1.3 | 6.1 | K | K
15 | 3.2 | 3.2 | 4.0 | 1.1 | 5.6 | 8.4 | K
2 | 1.4 | 0.9 | 1.3 | 1.1 | 2.8 | 2.9 | 4.1
2 | 0.2 | 2.3 | 1.8 | 2.7 | 2.3 | 2.5 | 3.6
4 | 0.1 | 1.0 | 0.6 | 1.3 | 2.5 | 0.4 | 1.8
1 | -0.2 | 0.1 | 0.1 | -0.3 | -1.0 | -0.7 | -0.1

## Slide 26: MCMC sampling
Five contributors (observed in the EPG data)
major
to
minor
Longer sampling, better metrics
25,000 cycles
sufficient

## Slide 27: Independent testing
Chart: 
Cybergenetics
Cuyahoga

## Slide 28: Testimony
On September 7, 2017, DNA analyst Jennifer Bracamontes (Née Hornyak) testified about the computer’s results before a Cuyahoga County jury.

## Slide 29: Match statistics
Item | Description | 16 Babul Kumer Saha | 20 Slater Howell III
10 | Gas pump button |  | 
14 | Cash register lottery slot | 11.1 trillion | 
17.1 | Bag | 224 thousand | 98 thousand

## Slide 30: Match statistics
Item | Description | 16 Babul Kumer Saha | 20 Slater Howell III
10 | Gas pump button |  | 
14 | Cash register lottery slot | 13.04 | 
17.1 | Bag | 5.35 | 4.99

## Slide 31: Case Outcome
On September 12, 2017, the jury found Slater Howell III guilty of all charges. On November 14, 2017, Howell was sentenced to life in prison for Saha's homicide and the murder of a Cleveland firefighter, a charge to which he plead guilty.
Source: Man convicted of killing Maple Heights store clerk to 'earn bones' for Heartless Felons - cleveland.com

## Slide 32: Conclusions
Next month
We’ll hear from Dr. Nasir Butt of Cuyahoga County Regional Forensic Science Laboratory (CCRFSL) who will discuss their workflow and how they are making full use of TrueAllele.